## Sheet1
BID SCHEDULE - 1200 NORTH 200 EAST TO 600 EAST WATERLINE, STORM DRAIN, ROAD RECONSTRUCTION
Item | Description | Unit | Quantity | Unit Price | Item Price
1 | Mobilization | Lump Sum | 1 |  | 0
2 | Traffic Control | Lump Sum | 1 |  | 0
3 | Create and Implement Storm Water Pollution Prevention Plan (SWPPP) | Lump Sum | 1 |  | 0
4 | Survey | Lump Sum | 1 |  | 0
5 | Provide Quality Control Testing | Lump Sum | 1 |  | 0
6 | Remove Existing Curb and Gutter | Lineal Foot | 1400 |  | 0
7 | Saw Cut Existing Asphalt | Lineal Foot | 400 |  | 0
8 | Remove Existing Flat Concrete | Square Foot | 8750 |  | 0
9 | Remove Existing Asphalt | Square Foot | 146000 |  | 0
10 | Remove Existing Water Valve Box | Each | 10 |  | 0
11 | Remove Existing Catch Basin / Manhole | Each | 4 |  | 0
12 | Remove Existing Storm Drain Pipe | Lineal Foot | 140 |  | 0
13 | Remove Existing 8-Inch DI Pipe | Lineal Foot | 60 |  | 0
14 | Site Excavation | Tons | 9400 |  | 0
15 | Install 15-Inch ADS | Lineal Foot | 555 |  | 0
16 | Install 18-Inch ADS | Lineal Foot | 780 |  | 0
17 | Install 36x36-Inch Structure | Each | 2 |  | 0
18 | Install 24x36-Inch Structure | Each | 12 |  | 0
19 | Install 24x24-inch Structure | Each | 1 |  | 0
20 | Install 4-Foot Storm Drain Manhole | Each | 2 |  | 0
21 | Construct Untreated Base Course | Ton | 2900 |  | 0
22 | Construct Hot Mix Asphalt, 3 Inches Thick | Square Foot | 146000 |  | 0
23 | Construct 4-Inch Thick Sidewalk | Square Foot | 430 |  | 0
24 | Construct ADA Ramps | Each | 15 |  | 0
25 | Construct Type A Curb and Gutter | Lineal Foot | 1400 |  | 0
26 | Construct Concrete Flare Driveway Approach 6-Inches Thick (APWA Plan 221 Type A) | Square Foot | 1800 |  | 0
27 | Replace Disturbed Landscaping | Lump Sum | 1 |  | 0
28 | Install C-900 DR-14 8-Inch PVC Waterline | Lineal Foot | 2900 |  | 0
29 | Install C-900 DR-14 6-Inch PVC Waterline | Lineal Foot | 1250 |  | 0
30 | Remove Existing Fire Hydrant Assembly | Each | 5 |  | 0
31 | Install Fire Hydrant Assembly | Each | 11 |  | 0
32 | Install 16-Inch (Internal Diameter) Steel Casing Under Canal | Lump Sum | 1 |  | 0
33 | Install 6-Inch Gate Valve | Each | 4 |  | 0
34 | Install 8-Inch Gate Valve | Each | 11 |  | 0
35 | Install 8-Inch DI Tee | Each | 2 |  | 0
36 | Install 8x6-Inch DI Tee | Each | 7 |  | 0
37 | Install 12x8-Inch DI Tee | Each | 1 |  | 0
38 | Install 8x6-Inch DI Cross | Each | 2 |  | 0
39 | Install 8-Inch DI Cross | Each | 1 |  | 0
40 | Install 6-Inch 11.25 Deg DI Bend | Each | 1 |  | 0
41 | Install 6-Inch 45 Deg DI Bend | Each | 3 |  | 0
42 | Install 8-Inch 11.25 Deg DI Bend | Each | 4 |  | 0
43 | Install 8-Inch 22.5 Deg DI Bend | Each | 2 |  | 0
44 | Install 8-Inch 45 Deg DI Bend | Each | 8 |  | 0
45 | Install 8x6-Inch DI Reducer | Each | 1 |  | 0
46 | Relocate Existing Water Meters to Park Strip | Each | 17 |  | 0
47 | Reconnect Existing Water Meter to new Main with Concrete Water Meter Barrel | Each | 1 |  | 0
48 | Reconnect Existing Water Meters to New Main | Each | 77 |  | 0
49 | Install New Water Service and Meter | Each | 1 |  | 0
50 | Install 4-Inch PVC SDR 35 Sewer Lateral | Each | 1 |  | 0
51 | Install Water Valve Concrete Collar | Each | 27 |  | 0
52 | Install Manhole Concrete Collar | Each | 24 |  | 0
53 | Provide Set of Redline Drawings | Lump Sum | 1 |  | 0
TOTAL $__________________________________
COMPANY NAME__________________________________
SIGNATURE__________________________________