## Bid Schedule
1400 North 600 West Intersection Improvement Project
Bid Schedule - Addendum 2
Item | Description | Unit | Qty | Unit Price | Item Price
1 | Mobilization | LS | 1 |  | 0
2 | Traffic Control | LS | 1 |  | 0
3 | Create and Implement Storm Water Pollution Prevention Plan (SWPPP) | LS | 1 |  | 0
4 | Survey | LS | 1 |  | 0
5 | Landscaping | LS | 1 |  | 0
6 | Signal System | LS | 1 |  | 0
7 | Railroad Flagging | LS | 1 |  | 0
8 | Remove Asphalt Pavement | SY | 20930 |  | 0
9 | Remove Concrete Curb and Gutter | LF | 2000 |  | 0
10 | Remove Concrete Curb | LF | 612 |  | 0
11 | Remove Concrete Pavement | SY | 9 |  | 0
12 | Remove Concrete Sidewalk | SY | 461 |  | 0
13 | Remove Fence | LF | 815 |  | 0
14 | Remove Tree | EA | 12 |  | 0
15 | Reconstruct Catch Basin | EA | 1 |  | 0
16 | Remove Bus Pad | SF | 232 |  | 0
17 | Salvage Bus Shelter | EA | 1 |  | 0
18 | Remove Concrete Waterway | SF | 371 |  | 0
19 | Remove Pipe | LF | 1237 |  | 0
20 | Remove Catch Basin | EA | 2 |  | 0
21 | Remove Manhole | EA | 3 |  | 0
22 | Reconstruct Survey Monument | EA | 1 |  | 0
23 | Remove Bollard | EA | 1 |  | 0
24 | Roadway Excavation (Plan Quantity) | CY | 17600 |  | 0
25 | Borrow (Plan Quantity) | CY | 9197 |  | 0
26 | Granular Borrow (Plan Quantity) | CY | 7859 |  | 0
27 | Untreated Base Course (Plan Quantity) | CY | 6586 |  | 0
28 | Install Liquid Asphalt MC-70 or MC-250 | TON | 16 |  | 0
29 | HMA PG 58-28, 1/2” Mix | TON | 5482 |  | 0
30 | Type A Curb and Gutter | LF | 2862 |  | 0
31 | Type G Curb and Gutter | LF | 547 |  | 0
32 | Type Q Curb and Gutter | LF | 254 |  | 0
33 | Amended Release Curb and Gutter Type E | LF | 313 |  | 0
34 | Modified Curb and Gutter Type A | LF | 3808 |  | 0
35 | Concrete Sidewalk 4 Feet | LF | 123 |  | 0
36 | Concrete Sidewalk 5 Feet | LF | 3957 |  | 0
37 | Concrete Sidewalk 6 Feet | LF | 857 |  | 0
38 | Pedestrian Access Ramp | EA | 21 |  | 0
39 | Landscape Wall | LF | 547 |  | 0
40 | Concrete Waterway, 4ft | LF | 69 |  | 0
41 | Concrete Waterway, 6ft | LF | 275 |  | 0
42 | 6-Inch Curb Wall | LF | 37 |  | 0
43 | Concrete Driveway | SF | 4527 |  | 0
44 | Concrete Driveway, Mountable Curb, 8 Inch Thick | SF | 153 |  | 0
45 | Bus Shelter Pad | SF | 271 |  | 0
46 | Concrete Flatwork, 6 Inch Thick | SF | 783 |  | 0
47 | Concrete Flatwork, 9 To 11 Inch Thick | SF | 593 |  | 0
48 | Detectable Warning Surface | EA | 4 |  | 0
49 | Jersey Barrier | LF | 36 |  | 0
50 | Plowable End Section | EA | 2 |  | 0
51 | 42” Chain Link Fence | LF | 91 |  | 0
52 | 42” White Vinyl Fence | LF | 87 |  | 0
53 | 72” White Vinyl Fence | LF | 198 |  | 0
54 | Sign Base and Face Material Type A-1 12 X 36 | EA | 4 |  | 0
55 | Sign Base and Face Material Type A-1 18 X 36 | EA | 4 |  | 0
56 | Sign Base and Face Material Type A-1 24 X 36 | EA | 1 |  | 0
57 | Sign Base and Face Material Type A-1 30 X 36 | EA | 1 |  | 0
58 | Sign Base and Face Material Type A-1 36 X 36 | EA | 2 |  | 0
59 | Sign Base and Face Material Type A-1 48 X 24 | EA | 1 |  | 0
60 | Sign Post and Foundation | EA | 19 |  | 0
61 | Relocate Sign < 20 Sq Ft | EA | 8 |  | 0
62 | Remove Sign < 20 Sq Ft | EA | 7 |  | 0
63 | Pavement Marking Paint – 4 Inch Solid White Line | GAL | 21.5 |  | 0
64 | Pavement Marking Paint – 4 Inch Broken White Line | GAL | 1.56 |  | 0
65 | Pavement Marking Paint – 4 Inch Solid Yellow Line | GAL | 5.96 |  | 0
66 | Pavement Marking Paint – 4 Inch Double Solid Yellow Line | GAL | 25.72 |  | 0
67 | Pavement Marking Paint – 4 Inch Solid and Broken Yellow Line | GAL | 7.13 |  | 0
68 | Pavement Marking Paint – 8 Inch Solid White Line | GAL | 9.57 |  | 0
69 | Pavement Marking Paint – 8 Inch Dotted White Line | GAL | 0.15 |  | 0
70 | Pavement Marking Paint – 8 Inch Lane Drop White Line | GAL | 0.36 |  | 0
71 | Pavement Message | EA | 83 |  | 0
72 | Pavement Marking Paint – 12 Inch Solid White Stop Bar and Crosswalks | LF | 866 |  | 0
73 | Remove Pavement Markings | LF | 2700 |  | 0
139 | Soft Spot Repair (Contingency) | EA | 10 |  | 0
74 | 15 Inch Reinforced Concrete Pipe Culvert | LF | 338 |  | 0
75 | 15 Inch Drainage Pipe | LF | 142 |  | 0
76 | 18 Inch Reinforced Concrete Pipe Culvert | LF | 1515 |  | 0
77 | 24 Inch Reinforced Concrete Pipe Culvert | LF | 570 |  | 0
78 | 24 Inch Drainage Pipe | LF | 1248 |  | 0
79 | 30 Inch Reinforced Concrete Pipe Culvert | LF | 3 |  | 0
80 | 36 Inch Reinforced Concrete Pipe Culvert | LF | 456 |  | 0
81 | 36 Inch Drainage Pipe | LF | 646 |  | 0
82 | 72 Inch Reinforced Concrete Pipe Culvert | LF | 308 |  | 0
83 | 60 Inch HDPE Pipe | LF | 1181 |  | 0
84 | 30 Inch Steel Pipe | LF | 212 |  | 0
85 | 48 Inch Steel Pipe | LF | 308 |  | 0
86 | Elliptical Drainage Pipe – 14” X 23” | LF | 265 |  | 0
87 | Elliptical Drainage Pipe – 58” X 91” | LF | 96 |  | 0
88 | Elliptical Drainage Pipe – 53” X 83” | LF | 71 |  | 0
89 | Elliptical Drainage Pipe – 29” X 45” | LF | 336 |  | 0
90 | Manhole APWA SP 341 | EA | 14 |  | 0
91 | Manhole MH 341-R1 | EA | 10 |  | 0
92 | Catch Basin APWA SP 315 | EA | 9 |  | 0
93 | UDOT CB 5 5’L X 5’W X 5’ Deep | EA | 1 |  | 0
94 | UDOT CB 5 5’L X 5’W | EA | 1 |  | 0
95 | Catch Basin APWA SP 613 | EA | 8 |  | 0
96 | Catch Basin SP 613-R1 | EA | 1 |  | 0
97 | Catch Basin SP 613-R2 | EA | 1 |  | 0
98 | Flared End Section 18” | EA | 1 |  | 0
99 | Flared End Section 24” | EA | 1 |  | 0
100 | Flared End Section 30” | EA | 1 |  | 0
101 | Manhole Grate Frame, Grade Rings, Cone, and Riser | EA | 2 |  | 0
102 | Reinforcing Steel | PND | 27320 |  | 0
103 | Structural Concrete | CY | 70 |  | 0
104 | Filtration Swale (Developed) | LF | 2531 |  | 0
140 | Filtration Swale (Undeveloped) | LF | 1559 |  | 0
105 | Remove Water Valve | EA | 9 |  | 0
106 | Relocate Fire Hydrant | EA | 3 |  | 0
107 | Remove Fire Hydrant | EA | 2 |  | 0
108 | Remove and Replace Fire Hydrant and Valve | EA | 2 |  | 0
109 | Reconstruct Water Valve | EA | 3 |  | 0
110 | 10” Gate Valve | EA | 6 |  | 0
111 | Fire Hydrant Assembly and Valve | EA | 6 |  | 0
112 | Water Pipe, 1” PE | LF | 109 |  | 0
113 | Water Pipe, 2” PE | LF | 71 |  | 0
114 | 10” C-900 PE | LF | 84 |  | 0
115 | 90 Degree Elbow | EA | 1 |  | 0
116 | Adjust Manhole | EA | 6 |  | 0
117 | Sewer Lateral, 4” PVC | LF | 186 |  | 0
118 | 8” PVC Pipe | LF | 1245 |  | 0
119 | Precast Manhole 48” | EA | 4 |  | 0
120 | Precast Manhole 60” | EA | 3 |  | 0
121 | Relocate Light Pole | EA | 3 |  | 0
122 | Type B Junction Box | EA | 1 |  | 0
123 | Type C Junction Box | EA | 3 |  | 0
124 | 3” PVC Conduit | LF | 322 |  | 0
125 | 3-3" PVC Conduits | LF | 784 |  | 0
126 | 4” PVC Conduit | LF | 1216 |  | 0
127 | 6” PVC Conduit | LF | 321 |  | 0
128 | 3” PVC Riser | EA | 1 |  | 0
Alternate #1: Phase 2 Construction - will be added if railroad scheduling requires
129 | Mobilization Phase 2 | LS | 1 |  | 0
130 | Traffic Control Phase 2 | LS | 1 |  | 0
Alternate #2: North Logan Sewer - will be added pending an agreement between Logan City and North Logan City
25 | Borrow (Plan Quantity) | CY | 2901 |  | 0
131 | Mobilization Alt2 | LS | 1 |  | 0
132 | Install 42" Sanitite Pipe | LF | 495 |  | 0
133 | Install 48" Sanitite Pipe | LF | 815 |  | 0
134 | Install 120" Premium Sewer Manholes with A-LOK | EA | 2 |  | 0
135 | Install 84" Premium Sewer Manholes with A-LOK | EA | 2 |  | 0
Additive #1 - may be awarded at Logan City's discretion
136 | Mobilization Add 1 | LS | 1 |  | 0
137 | Traffic Control Add 1 | LS | 1 |  | 0
3 | Create and Implement Storm Water Pollution Prevention Plan (SWPPP) | LS | 1 |  | 0
8 | Remove Asphalt Pavement | SY | 9134 |  | 0
23 | Roadway Excavation (Plan Quantity) | CY | 6966 |  | 0
24 | Borrow (Plan Quantity) | CY | 6966 |  | 0
25 | Granular Borrow (Plan Quantity) | CY | 3256 |  | 0
26 | Untreated Base Course (Plan Quantity) | CY | 2643 |  | 0
27 | Install Liquid Asphalt MC-70 or MC-250 | TON | 7 |  | 0
28 | HMA PG 58-28, 1/2” Mix | TON | 2234 |  | 0
116 | Adjust Manhole | EA | 1 |  | 0
138 | Adjust Water Valve | EA | 5 |  | 0
|  |  | Base Bid Total | 0
|  |  | Alternate #1 Bid Total | 0
|  |  | Alternate #2 Bid Total | 0
|  |  | Additive #1 Bid Total | 0
Company Name
Signature